SensorML
Research Vessel
application at IFREMER

# Overall scope
The scope of the document is to propose a common interface from marine observation systems and networks (off shore) to data centres (on shore). The purpose of this interface is to get a description of these marine observation systems which may be used for on shore processing of data (e.g. quality assessments, duplicates management, ...).
The standard which is applied here is OGC Observation and measurements sensorML:
http://portal.opengeospatial.org/files/?artifact_id=21273

The sensorML version used is 2.0.

# Vocabulary, concepts
Sensor System may be a research vessel or an autonomous platform or a network of observing systems.
A Sensor is a device which provides observations (observed properties results of a feature of interest).

A Ship or platform carries n sensors.

Each has its sensorML record.

Ships are thus described in sensorML record. This record has references to other sensorML records which describe the sensor carried by the ship.

# Detailed description
## Ship description
A ship is considered as a sensor system carrying a set of sensors or other sensor systems. Each hosted sensor or sensor system is active for a certain period (see 3.2.7).

## Sensor description
### Identification
Any identifier may be used to qualify the current system.

A UUID is mandatory:
<sml:IdentifierList> <!-- #### uuid ##### --> <sml:identifier> <sml:Term definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=66"> <sml:label>uuid</sml:label> <sml:value>2764d202-6814-4fd4-88fb-816325d817a0</sml:value> </sml:Term> </sml:identifier>

### Classification
Any classifier may be used to qualify the current system.

For research vessel the following is mandatory:

<!-- #### PLATFORM_FAMILY ############### --> <sml:classifier> <sml:Term definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=51"> <sml:label>family</sml:label> <sml:codeSpace xlink:href="http://vocab.nerc.ac.uk/collection/L06/current/"/> <sml:value>research vessel</sml:value> </sml:Term> </sml:classifier> </sml:ClassifierList>

### Applicable Period

<!-- Periode pendant laquelle la description la description courante est applicable --> <sml:validTime> <gml:TimePeriod gml:id="validTime"> <gml:beginPosition>1989</gml:beginPosition> <gml:endPosition>2014</gml:endPosition> </gml:TimePeriod> </sml:validTime>

### Point of contacts
Point of contacts are recommended (owner, operator, …).
For example:
<sml:contact> <gmd:CI_ResponsibleParty> <gmd:organisationName><gco:CharacterString>IFREMER</gco:CharacterString></gmd:organisationName> <gmd:role><gmd:CI_RoleCode codeList="http://www.ifremer.fr/tematres/vocab/index.php?tema=67" codeListValue="owner"></gmd:CI_RoleCode></gmd:role> </gmd:CI_ResponsibleParty> </sml:contact>

### External documentation (manuals, picture)
Any document can be listed.

A quicklook picture is strongly recommended:

<sml:document> <gmd:CI_OnlineResource> <gmd:linkage> <gmd:URL>http://flotte.ifremer.fr/var/storage/images/medias-ifremer/mediatheque-flotte/flotte/navires/hauturiers/l-atalante/p_atalante.jpg/47908-2-fre-FR/p_atalante.jpg.jpg</gmd:URL> </gmd:linkage> <gmd:name> <gco:CharacterString>p_atalante.jpg.jpg</gco:CharacterString> </gmd:name> <gmd:description> <gco:CharacterString>p_atalante.jpg.jpg</gco:CharacterString> </gmd:description> <gmd:function><gmd:CI_OnLineFunctionCode codeList="http://www.ifremer.fr/tematres/vocab/index.php?tema=99" codeListValue="quicklook"></gmd:CI_OnLineFunctionCode></gmd:function> </gmd:CI_OnlineResource> </sml:document>

### Events (e.g. calibration)
To be updated in sensorml v2
    <!-- liste des evenements notables -->
        <sml1:history>
        <sml1:EventList>
        <sml1:member name="calibration">
        <sml1:Event>
        <sml1:date>2012-03-22</sml1:date>
        <gml:description>test</gml:description>
        <sml1:contact></sml1:contact>
        </sml1:Event>
        </sml1:member>
        <sml1:member name="">
        <!-- etc .... -->
        </sml1:member>
        </sml1:EventList>
        </sml1:history>

### List of the hosted sensors and operation period
Each sensor system, during its described period (3.2.3), hosts sensors (or other sensor systems). They are listed in “components” elements. For each the period during which it has been active is described.

   <!-- sous composants embarqués -->
        <sml1:components>
        <sml1:ComponentList>
        <sml1:component name="CTD">
        <!-- identifiant du composant -->
        <sml1:Component gml:id="xccc">
        <!-- periode d'activité -->
        <sml1:validTime>
        <gml:TimePeriod>
        <gml:begin>
        <gml:TimeInstant><gml:timePosition>2013-03-12T09:00:00</gml:timePosition></gml:TimeInstant>
        </gml:begin>
        <gml:end>
        <gml:TimeInstant><gml:timePosition>2013-03-12T10:00:00</gml:timePosition></gml:TimeInstant>
        </gml:end>
        </gml:TimePeriod>
        </sml1:validTime>
        </sml1:Component>
        </sml1:component>
        </sml1:ComponentList>
        </sml1:components>

# Generalities
## Sensor ids
Identification is manage with no collision thank to UUID (http://en.wikipedia.org/wiki/Universally_unique_identifier), generated where the record is first created (see 3.2.1)

format of Ids or any reference to related entity are always URI. Type URI are URL which resolve to an on-line resources describing the actual concept (sometime HTTP status 303 as recommended in semantic web http://en.wikipedia.org/wiki/HTTP_303)

## SensorML record templates
Depending on sensor systems or sensor types (e.g. thermosalinograph, CTD probe), sensorML templates may be defined as proposed with ODIP project.
Examples are given for integrated navigation systems and thermosalinographs (see alfresco).

## Controlled vocabulary references
Controlled vocabularies, list or concept are referenced as URI and/or label.
At list one among list or concept is identified uniquerly with an URI.

Examples:
<sml:classifier> <sml:Term definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=51"> <sml:label>family</sml:label> <sml:codeSpace xlink:href="http://vocab.nerc.ac.uk/collection/L06/current/"/> <sml:value>research vessel</sml:value> </sml:Term> </sml:classifier>

## Servers, synchronization off-shore/on-shore
SOS-T is an option for pushing observations on-shore.
The sensorML or O&M records are ecnoded as JSON Array (canonical reversible conversion from and to XML, in Java see http://www.json.org/java/index.html)

# Annex, example

## Research Vessel
<?xml version="1.0" encoding="UTF-8" standalone="yes"?> <sml:PhysicalSystem xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xmlns:gmd="http://www.isotc211.org/2005/gmd" xmlns:gco="http://www.isotc211.org/2005/gco" xmlns:sml="http://www.opengis.net/sensorml/2.0" xmlns:xlink="http://www.w3.org/1999/xlink" xmlns:gml="http://www.opengis.net/gml/3.2" xmlns:swe="http://www.opengis.net/swe/2.0" xsi:schemaLocation="http://www.opengis.net/sensorml/2.0 http://schemas.opengis.net/sensorML/2.0/sensorML.xsd" gml:id="top"> <gml:description>ATALANTE IFREMER Research Vessel operated by GENAVIR</gml:description> <gml:name>ATALANTE</gml:name> <sml:identification> <sml:IdentifierList> <!-- #### uuid ##### --> <sml:identifier> <sml:Term definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=66"> <sml:label>uuid</sml:label> <sml:value>2764d202-6814-4fd4-88fb-816325d817a0</sml:value> </sml:Term> </sml:identifier> </sml:IdentifierList> </sml:identification> <sml:classification> <sml:ClassifierList> <!-- #### PLATFORM_FAMILY ############### --> <sml:classifier> <sml:Term definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=51"> <sml:label>family</sml:label> <sml:codeSpace xlink:href="http://vocab.nerc.ac.uk/collection/L06/current/"/> <sml:value>research vessel</sml:value> </sml:Term> </sml:classifier> </sml:ClassifierList> </sml:classification> <!-- Periode pendant laquelle la description la description courante est applicable --> <sml:validTime> <gml:TimePeriod gml:id="validTime"> <gml:beginPosition>1989</gml:beginPosition> <gml:endPosition>2014</gml:endPosition> </gml:TimePeriod> </sml:validTime> <sml:contacts> <sml:ContactList> <sml:contact> <gmd:CI_ResponsibleParty> <gmd:organisationName><gco:CharacterString>IFREMER</gco:CharacterString></gmd:organisationName> <gmd:role><gmd:CI_RoleCode codeList="http://www.ifremer.fr/tematres/vocab/index.php?tema=67" codeListValue="owner"></gmd:CI_RoleCode></gmd:role> </gmd:CI_ResponsibleParty> </sml:contact> <sml:contact> <gmd:CI_ResponsibleParty> <gmd:organisationName><gco:CharacterString>GENAVIR</gco:CharacterString></gmd:organisationName> <gmd:role><gmd:CI_RoleCode codeList="http://www.ifremer.fr/tematres/vocab/index.php?tema=67" codeListValue="operator"></gmd:CI_RoleCode></gmd:role> </gmd:CI_ResponsibleParty> </sml:contact> </sml:ContactList> </sml:contacts> <sml:documentation> <sml:DocumentList> <!-- une photo de la plateforme est recommandée ici --> <!-- des documents géré dans des systèmes (librarie) peuvent aussi être référencés, --> <!-- dans ce cas on utilise des liens href vers ces systèmes --> <sml:document> <gmd:CI_OnlineResource> <gmd:linkage> <gmd:URL>http://flotte.ifremer.fr/var/storage/images/medias-ifremer/mediatheque-flotte/flotte/navires/hauturiers/l-atalante/p_atalante.jpg/47908-2-fre-FR/p_atalante.jpg.jpg</gmd:URL> </gmd:linkage> <gmd:name> <gco:CharacterString>p_atalante.jpg.jpg</gco:CharacterString> </gmd:name> <gmd:description> <gco:CharacterString>p_atalante.jpg.jpg</gco:CharacterString> </gmd:description> <gmd:function><gmd:CI_OnLineFunctionCode codeList="http://www.ifremer.fr/tematres/vocab/index.php?tema=99" codeListValue="quicklook"></gmd:CI_OnLineFunctionCode></gmd:function> </gmd:CI_OnlineResource> </sml:document> </sml:DocumentList> </sml:documentation> <sml:components> <sml:ComponentList> <!-- ###############################################################--> <!-- ################### CONTROLLER BOARD description ##############--> <!-- ###############################################################--> <sml:component name="TSG" xlink:href="http://ubisi54.ifremer.fr:8080/sensornanny/record/056cc4aa-d862-42b9-bd83-f537910405af"> </sml:component> <sml:component name="CINNA" xlink:href="http://ubisi54.ifremer.fr:8080/sensornanny/record/056cc4aa-d862-42b9-bd83-f537910405af"> </sml:component> </sml:ComponentList> </sml:components> </sml:PhysicalSystem>

## Thermosalinograph on-board
<?xml version="1.0" encoding="UTF-8" standalone="yes"?> <sml:PhysicalSystem xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xmlns:gmd="http://www.isotc211.org/2005/gmd" xmlns:gco="http://www.isotc211.org/2005/gco" xmlns:sml="http://www.opengis.net/sensorml/2.0" xmlns:xlink="http://www.w3.org/1999/xlink" xmlns:gml="http://www.opengis.net/gml/3.2" xmlns:swe="http://www.opengis.net/swe/2.0" xsi:schemaLocation="http://www.opengis.net/sensorml/2.0 http://schemas.opengis.net/sensorML/2.0/sensorML.xsd" gml:id="top"> <gml:description>Thermosalingraph on Atalante (SBE 21)</gml:description> <gml:name>Thermosalinograph</gml:name> <sml:identification> <sml:IdentifierList> <!-- #### uuid ##### --> <sml:identifier> <sml:Term definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=66"> <sml:label>uuid</sml:label> <sml:value>056cc4aa-d862-42b9-bd83-f537910405af</sml:value> </sml:Term> </sml:identifier> </sml:IdentifierList> </sml:identification> <sml:classification> <sml:ClassifierList> <!-- #### PLATFORM_FAMILY ############### --> <sml:classifier> <sml:Term definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=51"> <sml:label>family</sml:label> <sml:codeSpace xlink:href="http://vocab.nerc.ac.uk/collection/L22/current/TOOL0667/"/> <sml:value>research vessel</sml:value> </sml:Term> </sml:classifier> </sml:ClassifierList> </sml:classification> <!-- Periode pendant laquelle la description la description courante est applicable --> <sml:validTime> <gml:TimePeriod gml:id="validTime"> <gml:beginPosition>1989</gml:beginPosition> <gml:endPosition>2014</gml:endPosition> </gml:TimePeriod> </sml:validTime> <sml:contacts> <sml:ContactList> <sml:contact> <gmd:CI_ResponsibleParty> <gmd:organisationName><gco:CharacterString>IFREMER</gco:CharacterString></gmd:organisationName> <gmd:role><gmd:CI_RoleCode codeList="http://www.ifremer.fr/tematres/vocab/index.php?tema=67" codeListValue="owner"></gmd:CI_RoleCode></gmd:role> </gmd:CI_ResponsibleParty> </sml:contact> <sml:contact> <gmd:CI_ResponsibleParty> <gmd:organisationName><gco:CharacterString>GENAVIR</gco:CharacterString></gmd:organisationName> <gmd:role><gmd:CI_RoleCode codeList="http://www.ifremer.fr/tematres/vocab/index.php?tema=67" codeListValue="operator"></gmd:CI_RoleCode></gmd:role> </gmd:CI_ResponsibleParty> </sml:contact> </sml:ContactList> </sml:contacts> <sml:outputs> <sml:OutputList> <sml:output name="systemMeasurement"> <swe:DataRecord> <!-- name contains the name of the netcdf variable in netcdf --> <swe:field name="intaketemp"> <!-- quantity definition contain the exact quantity definition the varialbes refers to (e.g. in a vocabulary server) --> <swe:Quantity definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=106"> <swe:uom/> </swe:Quantity> </swe:field> <swe:field name="temp"> <swe:Quantity definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=107"> <swe:uom/> </swe:Quantity> </swe:field> <swe:field name="conduct"> <swe:Quantity definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=108"> <swe:uom/> </swe:Quantity> </swe:field> <swe:field name="salinity"> <swe:Quantity definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=109"> <swe:uom/> </swe:Quantity> </swe:field> <swe:field name="sndspeed"> <swe:Quantity definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=110"> <swe:uom/> </swe:Quantity> </swe:field> <swe:field name="density"> <swe:Quantity definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=111"> <swe:uom/> </swe:Quantity> </swe:field> <swe:field name="time"> <swe:Time axisID="t" definition="http://www.ifremer.fr/tematres/vocab/index.php?tema=112"> <swe:uom/> </swe:Time> </swe:field> </swe:DataRecord> </sml:output> </sml:OutputList> </sml:outputs> <sml:attachedTo xlink:href="to be completed"/> </sml:PhysicalSystem>