Observatory description
template manual for JERICO

# Scope
Documentation for every value in the template spreadsheet file (see example poseidon-m3a-sensorML-example.ods).

# Foreword
The template is divided into 3 sections:
- general observatory information (cardinality: 1 record)
- general observatory news or events (cardinality: 0 to n records)
- sensors or instruments information (cardinality: 0 to n records)

When Column (e.g. $B or B) or line (e.g. $1 or 15) is prefixed with $ it means that the absolute coordinate is meant. Otherwise, the coordinate is related and the number may be incremented depending on the cardinality of records.

When NERC voc ref is mentionned, this means a proper vocabulary list reference has to be found in NERC vocabulary services (e.g. P02). This need to be discussed with CSIC.

# General observatory information:
Spreadsheet adress	Label	Help tooltip	Type	Mandatory/Optional	Example
$B$1	Observatory name	How the observatory is known	Text	M	POSEIDON-M3A
$B$2	Observatory picture	Picture of the observatory (should be 1200*1800)	URL	O	http://...
$B$3	WMO platform number	Find reference list	Enumeration	M	61277
$B$5	Latitude	Degrees north	Float	M	35.772
$C$5	Longitude	Degrees east	Float	M	24.904
$D$5	Vertical reference	Vertical level coordinate reference for the observatory (http://vocab.nerc.ac.uk/collection/L11/current/)	Enumeration	M	sea surface
$B$6	Bottom depth	Meters below sea level	Integer	O	1453
$B$7	PI name	Observatory PI name	Text	M	L. Perivoliotis
$B$8	PI email	Observatory PI email	Email	M	lperiv@hcmr.gr

(1 mandatory record)

Event/News information:
Spreadsheet adress	Label	Help tooltip	Type	Mandatory/Optional	Example
$B10	Date	Date of the event in ISO8601	ISO8601 date	M	2013-02-21
$C11	Description	Event or news related to current observatory	text	M	Buoy has been redeployed but with a shorter inductive cable

(optional, as many records as required)

Embedded sensors:
Spreadsheet adress	Label	Help tooltip	Type	Mandatory/Optional	Example
$A16	Name	How the sensor is named (http://vocab.nerc.ac.uk/collection/L22/current/ / )	text	M	Young 04106-19, JR MA
$C16	Feature of interest	Part of the world which is observed by the sensor … (NERC voc ref ?)	enumeration	M	atmosphere
$D16	Observed property	Parameter of the feature of interest which is observed by the sensor (NERC voc ref ?)	enumeration	M	pressure
$E16	Unit of measure	Unit of the measurement for the current observed property (http://vocab.nerc.ac.uk/collection/P06/current/ / )	enumeration	M	hPa
$F16	Vertical levels	Where the sensor is located on vertical axis in meters related to observatory vertical reference (positive above)	Array of floats	M	0, 20,50,75,100,250,400,600, 1000
$G16	Sampling period	Period between measurements in hours	float	M	3
$H16	Sampling geometry	Geometry of the area,line,volume being observed by the sensor	test	O	point
$I16	Transmission mode	How the observation measurement are sent to data centre (e.g. continuously : real time) (NERC voc ref ?)	enumeration	M	Real time
$J16	Deployment start date	Date since the sensor has been deployed on the observatory	ISO8601	M	2007
$K16	Deployement end date	Date since the sensor has been removed from the observatory	ISO8601	O
$L16	Deployment status	Information on status of the sensor among active, removed, test, … (NERC voc ref?)	enumeration	M	active
$M16	PI name	Name of the PI for the sensor	Text	O	L. Perivoliotis
$N16	PI email	Contact email for the PI (may be a service desk contact)	Email	O	lperiv@hcmr.gr

Thesaurus creation or update required:
- observed property:
    - from the P01 underlying semantic model (measurement or measurement,substance for concentrations specifically)
    - or ad-hoc list initiated for JERICO (I can initiate it)
- domain feature of interest:
    - from the P01 underlying semantic model (as matrix or somekind of extented matrix to handle temperature (property) or sea_water (domain) and temperature of atmosphere (domain).
    - or ad hoc list initiated for JERICO (I can initiate it)
- complete L02 with specific sampling geometry: as detailed in figure 12 of O&M OGC specification (http://portal.opengeospatial.org/files/?artifact_id=41579).
- transmission mode (for real time or delayed mode).
- deployment status (operational, test, ...).